# 首页-昨日电量统计

GET

http://[ip:port/api/bigScreen/yesterdayElectricity](http://127.0.0.1/api/bigScreen/yesterdayElectricity)

{

"msg": "操作成功",

"code": 0,

"data": [

{

"quantity": 0,

"typeCode": "光伏"

},

{

"quantity": 0,

"typeCode": "充电桩"

},

{

"quantity": 0,

"typeCode": "储能放"

},

{

"quantity": 0,

"typeCode": "储能充"

}

]

}

# 首页-光伏使用情况

GET

Http://[ip:port/api/bigScreen/selectDlsyqk](http://127.0.0.1/api/bigScreen/selectDlsyqk)

{

"msg": "操作成功",

"code": 0,

"data": [

{

"num": 0,

"NAME": "储能充"

},

{

"num": 0,

"NAME": "充电桩"

},

{

"num": 128.4,

"NAME": "家用负荷"

}

]

}

# 首页-光伏发电情况(日)

GET

http://ip:port/[127.0.0.1/api/bigScreen/ssPhotovoltaicPower](http://127.0.0.1/api/bigScreen/ssPhotovoltaicPower)

{

"msg": "操作成功",

"code": 0,

"data": [

{

"createBy": null,

"createTime": null,

"updateBy": null,

"updateTime": null,

"remark": null,

"id": null,

"cjMpId": null,

"dataDate": "2014-06-20 01:00:00",

"dataSource": null,

"writeDate": null,

"zxygz": 6,

"fxygz": null,

"zxwgz": null,

"fxwgz": null,

"field01": null,

"field03": null,

"field02": null

},

{

"createBy": null,

"createTime": null,

"updateBy": null,

"updateTime": null,

"remark": null,

"id": null,

"cjMpId": null,

"dataDate": "2014-06-20 02:00:00",

"dataSource": null,

"writeDate": null,

"zxygz": 4.8,

"fxygz": null,

"zxwgz": null,

"fxwgz": null,

"field01": null,

"field03": null,

"field02": null

},

{

"createBy": null,

"createTime": null,

"updateBy": null,

"updateTime": null,

"remark": null,

"id": null,

"cjMpId": null,

"dataDate": "2014-06-20 03:00:00",

"dataSource": null,

"writeDate": null,

"zxygz": 6,

"fxygz": null,

"zxwgz": null,

"fxwgz": null,

"field01": null,

"field03": null,

"field02": null

},

{

"createBy": null,

"createTime": null,

"updateBy": null,

"updateTime": null,

"remark": null,

"id": null,

"cjMpId": null,

"dataDate": "2014-06-20 04:00:00",

"dataSource": null,

"writeDate": null,

"zxygz": 6,

"fxygz": null,

"zxwgz": null,

"fxwgz": null,

"field01": null,

"field03": null,

"field02": null

},

{

"createBy": null,

"createTime": null,

"updateBy": null,

"updateTime": null,

"remark": null,

"id": null,

"cjMpId": null,

"dataDate": "2014-06-20 05:00:00",

"dataSource": null,

"writeDate": null,

"zxygz": 6,

"fxygz": null,

"zxwgz": null,

"fxwgz": null,

"field01": null,

"field03": null,

"field02": null

},

{

"createBy": null,

"createTime": null,

"updateBy": null,

"updateTime": null,

"remark": null,

"id": null,

"cjMpId": null,

"dataDate": "2014-06-20 06:00:00",

"dataSource": null,

"writeDate": null,

"zxygz": 6,

"fxygz": null,

"zxwgz": null,

"fxwgz": null,

"field01": null,

"field03": null,

"field02": null

},

{

"createBy": null,

"createTime": null,

"updateBy": null,

"updateTime": null,

"remark": null,

"id": null,

"cjMpId": null,

"dataDate": "2014-06-20 07:00:00",

"dataSource": null,

"writeDate": null,

"zxygz": 6,

"fxygz": null,

"zxwgz": null,

"fxwgz": null,

"field01": null,

"field03": null,

"field02": null

},

{

"createBy": null,

"createTime": null,

"updateBy": null,

"updateTime": null,

"remark": null,

"id": null,

"cjMpId": null,

"dataDate": "2014-06-20 08:00:00",

"dataSource": null,

"writeDate": null,

"zxygz": 4.8,

"fxygz": null,

"zxwgz": null,

"fxwgz": null,

"field01": null,

"field03": null,

"field02": null

},

{

"createBy": null,

"createTime": null,

"updateBy": null,

"updateTime": null,

"remark": null,

"id": null,

"cjMpId": null,

"dataDate": "2014-06-20 09:00:00",

"dataSource": null,

"writeDate": null,

"zxygz": 4.8,

"fxygz": null,

"zxwgz": null,

"fxwgz": null,

"field01": null,

"field03": null,

"field02": null

},

{

"createBy": null,

"createTime": null,

"updateBy": null,

"updateTime": null,

"remark": null,

"id": null,

"cjMpId": null,

"dataDate": "2014-06-20 10:00:00",

"dataSource": null,

"writeDate": null,

"zxygz": 6,

"fxygz": null,

"zxwgz": null,

"fxwgz": null,

"field01": null,

"field03": null,

"field02": null

},

{

"createBy": null,

"createTime": null,

"updateBy": null,

"updateTime": null,

"remark": null,

"id": null,

"cjMpId": null,

"dataDate": "2014-06-20 11:00:00",

"dataSource": null,

"writeDate": null,

"zxygz": 6,

"fxygz": null,

"zxwgz": null,

"fxwgz": null,

"field01": null,

"field03": null,

"field02": null

},

{

"createBy": null,

"createTime": null,

"updateBy": null,

"updateTime": null,

"remark": null,

"id": null,

"cjMpId": null,

"dataDate": "2014-06-20 12:00:00",

"dataSource": null,

"writeDate": null,

"zxygz": 4.8,

"fxygz": null,

"zxwgz": null,

"fxwgz": null,

"field01": null,

"field03": null,

"field02": null

},

{

"createBy": null,

"createTime": null,

"updateBy": null,

"updateTime": null,

"remark": null,

"id": null,

"cjMpId": null,

"dataDate": "2014-06-20 13:00:00",

"dataSource": null,

"writeDate": null,

"zxygz": 4.8,

"fxygz": null,

"zxwgz": null,

"fxwgz": null,

"field01": null,

"field03": null,

"field02": null

},

{

"createBy": null,

"createTime": null,

"updateBy": null,

"updateTime": null,

"remark": null,

"id": null,

"cjMpId": null,

"dataDate": "2014-06-20 14:00:00",

"dataSource": null,

"writeDate": null,

"zxygz": 4.8,

"fxygz": null,

"zxwgz": null,

"fxwgz": null,

"field01": null,

"field03": null,

"field02": null

},

{

"createBy": null,

"createTime": null,

"updateBy": null,

"updateTime": null,

"remark": null,

"id": null,

"cjMpId": null,

"dataDate": "2014-06-20 15:00:00",

"dataSource": null,

"writeDate": null,

"zxygz": 6,

"fxygz": null,

"zxwgz": null,

"fxwgz": null,

"field01": null,

"field03": null,

"field02": null

},

{

"createBy": null,

"createTime": null,

"updateBy": null,

"updateTime": null,

"remark": null,

"id": null,

"cjMpId": null,

"dataDate": "2014-06-20 16:00:00",

"dataSource": null,

"writeDate": null,

"zxygz": 4.8,

"fxygz": null,

"zxwgz": null,

"fxwgz": null,

"field01": null,

"field03": null,

"field02": null

},

{

"createBy": null,

"createTime": null,

"updateBy": null,

"updateTime": null,

"remark": null,

"id": null,

"cjMpId": null,

"dataDate": "2014-06-20 17:00:00",

"dataSource": null,

"writeDate": null,

"zxygz": 4.8,

"fxygz": null,

"zxwgz": null,

"fxwgz": null,

"field01": null,

"field03": null,

"field02": null

},

{

"createBy": null,

"createTime": null,

"updateBy": null,

"updateTime": null,

"remark": null,

"id": null,

"cjMpId": null,

"dataDate": "2014-06-20 18:00:00",

"dataSource": null,

"writeDate": null,

"zxygz": 6,

"fxygz": null,

"zxwgz": null,

"fxwgz": null,

"field01": null,

"field03": null,

"field02": null

},

{

"createBy": null,

"createTime": null,

"updateBy": null,

"updateTime": null,

"remark": null,

"id": null,

"cjMpId": null,

"dataDate": "2014-06-20 19:00:00",

"dataSource": null,

"writeDate": null,

"zxygz": 6,

"fxygz": null,

"zxwgz": null,

"fxwgz": null,

"field01": null,

"field03": null,

"field02": null

},

{

"createBy": null,

"createTime": null,

"updateBy": null,

"updateTime": null,

"remark": null,

"id": null,

"cjMpId": null,

"dataDate": "2014-06-20 20:00:00",

"dataSource": null,

"writeDate": null,

"zxygz": 4.8,

"fxygz": null,

"zxwgz": null,

"fxwgz": null,

"field01": null,

"field03": null,

"field02": null

},

{

"createBy": null,

"createTime": null,

"updateBy": null,

"updateTime": null,

"remark": null,

"id": null,

"cjMpId": null,

"dataDate": "2014-06-20 21:00:00",

"dataSource": null,

"writeDate": null,

"zxygz": 6,

"fxygz": null,

"zxwgz": null,

"fxwgz": null,

"field01": null,

"field03": null,

"field02": null

},

{

"createBy": null,

"createTime": null,

"updateBy": null,

"updateTime": null,

"remark": null,

"id": null,

"cjMpId": null,

"dataDate": "2014-06-20 22:00:00",

"dataSource": null,

"writeDate": null,

"zxygz": 6,

"fxygz": null,

"zxwgz": null,

"fxwgz": null,

"field01": null,

"field03": null,

"field02": null

},

{

"createBy": null,

"createTime": null,

"updateBy": null,

"updateTime": null,

"remark": null,

"id": null,

"cjMpId": null,

"dataDate": "2014-06-20 23:00:00",

"dataSource": null,

"writeDate": null,

"zxygz": 4.8,

"fxygz": null,

"zxwgz": null,

"fxwgz": null,

"field01": null,

"field03": null,

"field02": null

}

]

}

# 首页-光伏发电情况(周)

GET

<http://ip:port/api/bigScreen/ssPhotovoltaicPowerWeek>

{

"msg": "操作成功",

"code": 0,

"data": [

{

"id": "1",

"name": "光伏",

"num": "100.00",

"tjDate": "20240512"

},

{

"id": "2",

"name": "光伏",

"num": "100.00",

"tjDate": "20240513"

},

{

"id": "3",

"name": "光伏",

"num": "100.00",

"tjDate": "20240514"

},

{

"id": "4",

"name": "光伏",

"num": "100.00",

"tjDate": "20240515"

},

{

"id": "5",

"name": "光伏",

"num": "100.00",

"tjDate": "20240516"

},

{

"id": "6",

"name": "光伏",

"num": "100.00",

"tjDate": "20240517"

},

{

"id": "7",

"name": "光伏",

"num": "100.00",

"tjDate": "20240518"

}

]

}

# 家用负荷-电量分解（日）

GET

参数 date = 2014-06-20

http://ip:port[/api/bigScreen/dlfj?date=2014-06-20](http://127.0.0.1/api/bigScreen/dlfj?date=2014-06-20)

{

"msg": "操作成功",

"code": 0,

"data": [

{

"createBy": null,

"createTime": null,

"updateBy": null,

"updateTime": null,

"remark": null,

"id": 4,

"name": "家用负荷",

"num": 128.4,

"tjDate": "20140620",

"field01": "室内空调",

"field02": null,

"field03": null

}

]

}

# 家用负荷-电量分解（月）

GET

参数 date = 2014-06

http://ip:port/api/bigScreen/dlfjMonth?date=2014-06

{

"msg": "操作成功",

"code": 0,

"data": [

{

"field01": "室内空调",

"num": "100.00"

},

{

"field01": "室外空调",

"num": "100.00"

},

{

"field01": "电视机",

"num": "100.00"

},

{

"field01": "微波炉",

"num": "100.00"

},

{

"field01": "洗衣机",

"num": "100.00"

}

]

}

# 光储充功率监测曲线

GET

<http://ip:port/api/bigScreen/ssGvTj>

type\_code：01 光伏 02 储能 03 充电桩 04 家用负荷

这里只取pz 总功率，其它字段备用。

{

"msg": "操作成功",

"code": 0,

"data": [

{

"qz": 0,

"pz": 0,

"data\_date": "2014-06-25 00:00:00",

"ua": 234.6,

"ub": 0,

"uc": 0,

"qa": 0,

"pa": 0,

"qb": 0,

"pb": 0,

"qc": 0,

"pc": 0,

"ia": 0,

"ib": 0,

"ic": 0,

"type\_code": "01"

},

{

"data\_date": "2014-06-25 00:00:00",

"type\_code": "02"

},

{

"data\_date": "2014-06-25 00:00:00",

"type\_code": "03"

},

{

"qz": 0,

"pz": 0,

"data\_date": "2014-06-25 01:00:00",

"ua": 235.9,

"ub": 0,

"uc": 0,

"qa": 0,

"pa": 0,

"qb": 0,

"pb": 0,

"qc": 0,

"pc": 0,

"ia": 0,

"ib": 0,

"ic": 0,

"type\_code": "01"

},

{

"data\_date": "2014-06-25 01:00:00",

"type\_code": "02"

},

{

"data\_date": "2014-06-25 01:00:00",

"type\_code": "03"

},

{

"qz": 0,

"pz": 0,

"data\_date": "2014-06-25 02:00:00",

"ua": 236.3,

"ub": 0,

"uc": 0,

"qa": 0,

"pa": 0,

"qb": 0,

"pb": 0,

"qc": 0,

"pc": 0,

"ia": 0,

"ib": 0,

"ic": 0,

"type\_code": "01"

},

{

"data\_date": "2014-06-25 02:00:00",

"type\_code": "02"

},

{

"data\_date": "2014-06-25 02:00:00",

"type\_code": "03"

},

{

"qz": 0,

"pz": 0,

"data\_date": "2014-06-25 03:00:00",

"ua": 236,

"ub": 0,

"uc": 0,

"qa": 0,

"pa": 0,

"qb": 0,

"pb": 0,

"qc": 0,

"pc": 0,

"ia": 0,

"ib": 0,

"ic": 0,

"type\_code": "01"

},

{

"data\_date": "2014-06-25 03:00:00",

"type\_code": "02"

},

{

"data\_date": "2014-06-25 03:00:00",

"type\_code": "03"

},

{

"qz": 0,

"pz": 0,

"data\_date": "2014-06-25 04:00:00",

"ua": 235.8,

"ub": 0,

"uc": 0,

"qa": 0,

"pa": 0,

"qb": 0,

"pb": 0,

"qc": 0,

"pc": 0,

"ia": 0,

"ib": 0,

"ic": 0,

"type\_code": "01"

},

{

"data\_date": "2014-06-25 04:00:00",

"type\_code": "02"

},

{

"data\_date": "2014-06-25 04:00:00",

"type\_code": "03"

},

{

"qz": 0,

"pz": 0,

"data\_date": "2014-06-25 05:00:00",

"ua": 236.8,

"ub": 0,

"uc": 0,

"qa": 0,

"pa": 0,

"qb": 0,

"pb": 0,

"qc": 0,

"pc": 0,

"ia": 0,

"ib": 0,

"ic": 0,

"type\_code": "01"

},

{

"data\_date": "2014-06-25 05:00:00",

"type\_code": "02"

},

{

"data\_date": "2014-06-25 05:00:00",

"type\_code": "03"

},

{

"qz": 0,

"pz": 0,

"data\_date": "2014-06-25 06:00:00",

"ua": 235.7,

"ub": 0,

"uc": 0,

"qa": 0,

"pa": 0,

"qb": 0,

"pb": 0,

"qc": 0,

"pc": 0,

"ia": 0,

"ib": 0,

"ic": 0,

"type\_code": "01"

},

{

"data\_date": "2014-06-25 06:00:00",

"type\_code": "02"

},

{

"data\_date": "2014-06-25 06:00:00",

"type\_code": "03"

},

{

"qz": 0,

"pz": 0,

"data\_date": "2014-06-25 07:00:00",

"ua": 234.4,

"ub": 0,

"uc": 0,

"qa": 0,

"pa": 0,

"qb": 0,

"pb": 0,

"qc": 0,

"pc": 0,

"ia": 0,

"ib": 0,

"ic": 0,

"type\_code": "01"

},

{

"data\_date": "2014-06-25 07:00:00",

"type\_code": "02"

},

{

"data\_date": "2014-06-25 07:00:00",

"type\_code": "03"

},

{

"qz": 0,

"pz": 0,

"data\_date": "2014-06-25 08:00:00",

"ua": 226.7,

"ub": 0,

"uc": 0,

"qa": 0,

"pa": 0,

"qb": 0,

"pb": 0,

"qc": 0,

"pc": 0,

"ia": 0,

"ib": 0,

"ic": 0,

"type\_code": "01"

},

{

"data\_date": "2014-06-25 08:00:00",

"type\_code": "02"

},

{

"data\_date": "2014-06-25 08:00:00",

"type\_code": "03"

},

{

"qz": 0,

"pz": 0,

"data\_date": "2014-06-25 09:00:00",

"ua": 227.9,

"ub": 0,

"uc": 0,

"qa": 0,

"pa": 0,

"qb": 0,

"pb": 0,

"qc": 0,

"pc": 0,

"ia": 0,

"ib": 0,

"ic": 0,

"type\_code": "01"

},

{

"data\_date": "2014-06-25 09:00:00",

"type\_code": "02"

},

{

"data\_date": "2014-06-25 09:00:00",

"type\_code": "03"

},

{

"qz": 0,

"pz": 0,

"data\_date": "2014-06-25 10:00:00",

"ua": 225.1,

"ub": 0,

"uc": 0,

"qa": 0,

"pa": 0,

"qb": 0,

"pb": 0,

"qc": 0,

"pc": 0,

"ia": 0,

"ib": 0,

"ic": 0,

"type\_code": "01"

},

{

"data\_date": "2014-06-25 10:00:00",

"type\_code": "02"

},

{

"data\_date": "2014-06-25 10:00:00",

"type\_code": "03"

},

{

"qz": 0,

"pz": 0,

"data\_date": "2014-06-25 11:00:00",

"ua": 228.4,

"ub": 0,

"uc": 0,

"qa": 0,

"pa": 0,

"qb": 0,

"pb": 0,

"qc": 0,

"pc": 0,

"ia": 0,

"ib": 0,

"ic": 0,

"type\_code": "01"

},

{

"data\_date": "2014-06-25 11:00:00",

"type\_code": "02"

},

{

"data\_date": "2014-06-25 11:00:00",

"type\_code": "03"

},

{

"data\_date": "2014-06-25 12:00:00",

"type\_code": "01"

},

{

"data\_date": "2014-06-25 12:00:00",

"type\_code": "02"

},

{

"data\_date": "2014-06-25 12:00:00",

"type\_code": "03"

},

{

"data\_date": "2014-06-25 13:00:00",

"type\_code": "01"

},

{

"data\_date": "2014-06-25 13:00:00",

"type\_code": "02"

},

{

"data\_date": "2014-06-25 13:00:00",

"type\_code": "03"

},

{

"data\_date": "2014-06-25 14:00:00",

"type\_code": "01"

},

{

"data\_date": "2014-06-25 14:00:00",

"type\_code": "02"

},

{

"data\_date": "2014-06-25 14:00:00",

"type\_code": "03"

},

{

"data\_date": "2014-06-25 15:00:00",

"type\_code": "01"

},

{

"data\_date": "2014-06-25 15:00:00",

"type\_code": "02"

},

{

"data\_date": "2014-06-25 15:00:00",

"type\_code": "03"

},

{

"data\_date": "2014-06-25 16:00:00",

"type\_code": "01"

},

{

"data\_date": "2014-06-25 16:00:00",

"type\_code": "02"

},

{

"data\_date": "2014-06-25 16:00:00",

"type\_code": "03"

},

{

"data\_date": "2014-06-25 17:00:00",

"type\_code": "01"

},

{

"data\_date": "2014-06-25 17:00:00",

"type\_code": "02"

},

{

"data\_date": "2014-06-25 17:00:00",

"type\_code": "03"

},

{

"data\_date": "2014-06-25 18:00:00",

"type\_code": "01"

},

{

"data\_date": "2014-06-25 18:00:00",

"type\_code": "02"

},

{

"data\_date": "2014-06-25 18:00:00",

"type\_code": "03"

},

{

"data\_date": "2014-06-25 19:00:00",

"type\_code": "01"

},

{

"data\_date": "2014-06-25 19:00:00",

"type\_code": "02"

},

{

"data\_date": "2014-06-25 19:00:00",

"type\_code": "03"

},

{

"data\_date": "2014-06-25 20:00:00",

"type\_code": "01"

},

{

"data\_date": "2014-06-25 20:00:00",

"type\_code": "02"

},

{

"data\_date": "2014-06-25 20:00:00",

"type\_code": "03"

},

{

"data\_date": "2014-06-25 21:00:00",

"type\_code": "01"

},

{

"data\_date": "2014-06-25 21:00:00",

"type\_code": "02"

},

{

"data\_date": "2014-06-25 21:00:00",

"type\_code": "03"

},

{

"data\_date": "2014-06-25 22:00:00",

"type\_code": "01"

},

{

"data\_date": "2014-06-25 22:00:00",

"type\_code": "02"

},

{

"data\_date": "2014-06-25 22:00:00",

"type\_code": "03"

},

{

"data\_date": "2014-06-25 23:00:00",

"type\_code": "01"

},

{

"data\_date": "2014-06-25 23:00:00",

"type\_code": "02"

},

{

"data\_date": "2014-06-25 23:00:00",

"type\_code": "03"

}

]

}

# 家用负荷实时功率曲线

GET

<http://ip:port/api/bigScreen/ssJyfhGvTj>

虽然返回了多个参数，只用pz

{

"msg": "操作成功",

"code": 0,

"data": [

{

"field03": "中央空调",

"data\_date": "2014-06-22 00:00:00"

},

{

"field03": "室内空调",

"data\_date": "2014-06-22 00:00:00"

},

{

"field03": "电磁炉",

"data\_date": "2014-06-22 00:00:00"

},

{

"field03": "微波炉",

"data\_date": "2014-06-22 00:00:00"

},

{

"field03": "洗衣机",

"data\_date": "2014-06-22 00:00:00"

},

{

"qz": -0.0021,

"pz": 0.0064,

"data\_date": "2014-06-22 01:00:00",

"ua": 232.6,

"ub": 233.6,

"uc": 233.7,

"qa": -0.0006,

"pa": 0.0006,

"qb": -0.0015,

"pb": 0.0049,

"qc": 0,

"pc": 0.0007,

"field03": "中央空调",

"ia": 0,

"ib": 0.02,

"ic": 0

},

{

"field03": "室内空调",

"data\_date": "2014-06-22 01:00:00"

},

{

"field03": "电磁炉",

"data\_date": "2014-06-22 01:00:00"

},

{

"field03": "微波炉",

"data\_date": "2014-06-22 01:00:00"

},

{

"field03": "洗衣机",

"data\_date": "2014-06-22 01:00:00"

},

{

"qz": -0.0021,

"pz": 0.0064,

"data\_date": "2014-06-22 02:00:00",

"ua": 234,

"ub": 234.8,

"uc": 234.9,

"qa": -0.0006,

"pa": 0.0006,

"qb": -0.0015,

"pb": 0.0049,

"qc": 0,

"pc": 0.0008,

"field03": "中央空调",

"ia": 0,

"ib": 0.02,

"ic": 0

},

{

"field03": "室内空调",

"data\_date": "2014-06-22 02:00:00"

},

{

"field03": "电磁炉",

"data\_date": "2014-06-22 02:00:00"

},

{

"field03": "微波炉",

"data\_date": "2014-06-22 02:00:00"

},

{

"field03": "洗衣机",

"data\_date": "2014-06-22 02:00:00"

},

{

"qz": -0.0021,

"pz": 0.0064,

"data\_date": "2014-06-22 03:00:00",

"ua": 233.8,

"ub": 234.8,

"uc": 235,

"qa": -0.0006,

"pa": 0.0006,

"qb": -0.0015,

"pb": 0.0049,

"qc": 0,

"pc": 0.0008,

"field03": "中央空调",

"ia": 0,

"ib": 0.02,

"ic": 0

},

{

"field03": "室内空调",

"data\_date": "2014-06-22 03:00:00"

},

{

"field03": "电磁炉",

"data\_date": "2014-06-22 03:00:00"

},

{

"field03": "微波炉",

"data\_date": "2014-06-22 03:00:00"

},

{

"field03": "洗衣机",

"data\_date": "2014-06-22 03:00:00"

},

{

"qz": -0.002,

"pz": 0.0064,

"data\_date": "2014-06-22 04:00:00",

"ua": 235.3,

"ub": 236,

"uc": 236.3,

"qa": -0.0006,

"pa": 0.0006,

"qb": -0.0014,

"pb": 0.0049,

"qc": 0,

"pc": 0.0008,

"field03": "中央空调",

"ia": 0,

"ib": 0.02,

"ic": 0

},

{

"field03": "室内空调",

"data\_date": "2014-06-22 04:00:00"

},

{

"field03": "电磁炉",

"data\_date": "2014-06-22 04:00:00"

},

{

"field03": "微波炉",

"data\_date": "2014-06-22 04:00:00"

},

{

"field03": "洗衣机",

"data\_date": "2014-06-22 04:00:00"

},

{

"qz": -0.0021,

"pz": 0.0064,

"data\_date": "2014-06-22 05:00:00",

"ua": 236,

"ub": 236.6,

"uc": 236.9,

"qa": -0.0006,

"pa": 0.0006,

"qb": -0.0015,

"pb": 0.0049,

"qc": 0,

"pc": 0.0008,

"field03": "中央空调",

"ia": 0,

"ib": 0.02,

"ic": 0

},

{

"field03": "室内空调",

"data\_date": "2014-06-22 05:00:00"

},

{

"field03": "电磁炉",

"data\_date": "2014-06-22 05:00:00"

},

{

"field03": "微波炉",

"data\_date": "2014-06-22 05:00:00"

},

{

"field03": "洗衣机",

"data\_date": "2014-06-22 05:00:00"

},

{

"qz": -0.0008,

"pz": 0.064,

"data\_date": "2014-06-22 06:00:00",

"ua": 235.4,

"ub": 236.1,

"uc": 236.3,

"qa": -0.0006,

"pa": 0.0006,

"qb": -0.0002,

"pb": 0.0625,

"qc": 0,

"pc": 0.0008,

"field03": "中央空调",

"ia": 0,

"ib": 0.26,

"ic": 0

},

{

"field03": "室内空调",

"data\_date": "2014-06-22 06:00:00"

},

{

"field03": "电磁炉",

"data\_date": "2014-06-22 06:00:00"

},

{

"field03": "微波炉",

"data\_date": "2014-06-22 06:00:00"

},

{

"field03": "洗衣机",

"data\_date": "2014-06-22 06:00:00"

},

{

"qz": -0.001,

"pz": 0.006,

"data\_date": "2014-06-22 07:00:00",

"ua": 237.5,

"ub": 238.2,

"uc": 238.4,

"qa": -0.0006,

"pa": 0.0006,

"qb": -0.0004,

"pb": 0.0045,

"qc": 0,

"pc": 0.0008,

"field03": "中央空调",

"ia": 0,

"ib": 0.03,

"ic": 0

},

{

"field03": "室内空调",

"data\_date": "2014-06-22 07:00:00"

},

{

"field03": "电磁炉",

"data\_date": "2014-06-22 07:00:00"

},

{

"field03": "微波炉",

"data\_date": "2014-06-22 07:00:00"

},

{

"field03": "洗衣机",

"data\_date": "2014-06-22 07:00:00"

},

{

"qz": -0.0009,

"pz": 0.0056,

"data\_date": "2014-06-22 08:00:00",

"ua": 232.5,

"ub": 233.5,

"uc": 233.6,

"qa": -0.0005,

"pa": 0.0006,

"qb": -0.0004,

"pb": 0.0041,

"qc": 0,

"pc": 0.0008,

"field03": "中央空调",

"ia": 0,

"ib": 0.02,

"ic": 0

},

{

"field03": "室内空调",

"data\_date": "2014-06-22 08:00:00"

},

{

"field03": "电磁炉",

"data\_date": "2014-06-22 08:00:00"

},

{

"field03": "微波炉",

"data\_date": "2014-06-22 08:00:00"

},

{

"field03": "洗衣机",

"data\_date": "2014-06-22 08:00:00"

},

{

"qz": -0.0009,

"pz": 0.0032,

"data\_date": "2014-06-22 09:00:00",

"ua": 231.5,

"ub": 232.1,

"uc": 232.3,

"qa": -0.0005,

"pa": 0.0006,

"qb": 0.0003,

"pb": 0.0018,

"qc": 0,

"pc": 0.0007,

"field03": "中央空调",

"ia": 0,

"ib": 0.01,

"ic": 0

},

{

"field03": "室内空调",

"data\_date": "2014-06-22 09:00:00"

},

{

"field03": "电磁炉",

"data\_date": "2014-06-22 09:00:00"

},

{

"field03": "微波炉",

"data\_date": "2014-06-22 09:00:00"

},

{

"field03": "洗衣机",

"data\_date": "2014-06-22 09:00:00"

},

{

"qz": 0,

"pz": 0.0063,

"data\_date": "2014-06-22 10:00:00",

"ua": 229.8,

"ub": 230.7,

"uc": 230.7,

"qa": -0.0005,

"pa": 0.0006,

"qb": 0,

"pb": 0.0049,

"qc": 0,

"pc": 0.0007,

"field03": "中央空调",

"ia": 0,

"ib": 0.03,

"ic": 0

},

{

"field03": "室内空调",

"data\_date": "2014-06-22 10:00:00"

},

{

"field03": "电磁炉",

"data\_date": "2014-06-22 10:00:00"

},

{

"field03": "微波炉",

"data\_date": "2014-06-22 10:00:00"

},

{

"field03": "洗衣机",

"data\_date": "2014-06-22 10:00:00"

},

{

"qz": 0,

"pz": 0.0064,

"data\_date": "2014-06-22 11:00:00",

"ua": 230.2,

"ub": 231,

"uc": 231,

"qa": -0.0005,

"pa": 0.0006,

"qb": 0,

"pb": 0.0049,

"qc": 0,

"pc": 0.0007,

"field03": "中央空调",

"ia": 0,

"ib": 0.03,

"ic": 0

},

{

"field03": "室内空调",

"data\_date": "2014-06-22 11:00:00"

},

{

"field03": "电磁炉",

"data\_date": "2014-06-22 11:00:00"

},

{

"field03": "微波炉",

"data\_date": "2014-06-22 11:00:00"

},

{

"field03": "洗衣机",

"data\_date": "2014-06-22 11:00:00"

},

{

"qz": 0,

"pz": 0.0069,

"data\_date": "2014-06-22 12:00:00",

"ua": 233.5,

"ub": 234.5,

"uc": 234.5,

"qa": -0.0006,

"pa": 0.0006,

"qb": 0,

"pb": 0.0054,

"qc": 0,

"pc": 0.0008,

"field03": "中央空调",

"ia": 0,

"ib": 0.03,

"ic": 0

},

{

"field03": "室内空调",

"data\_date": "2014-06-22 12:00:00"

},

{

"field03": "电磁炉",

"data\_date": "2014-06-22 12:00:00"

},

{

"field03": "微波炉",

"data\_date": "2014-06-22 12:00:00"

},

{

"field03": "洗衣机",

"data\_date": "2014-06-22 12:00:00"

},

{

"qz": 0,

"pz": 0.0066,

"data\_date": "2014-06-22 13:00:00",

"ua": 232.4,

"ub": 233.3,

"uc": 233.4,

"qa": -0.0006,

"pa": 0.0006,

"qb": 0,

"pb": 0.0051,

"qc": 0,

"pc": 0.0007,

"field03": "中央空调",

"ia": 0,

"ib": 0.03,

"ic": 0

},

{

"field03": "室内空调",

"data\_date": "2014-06-22 13:00:00"

},

{

"field03": "电磁炉",

"data\_date": "2014-06-22 13:00:00"

},

{

"field03": "微波炉",

"data\_date": "2014-06-22 13:00:00"

},

{

"field03": "洗衣机",

"data\_date": "2014-06-22 13:00:00"

},

{

"qz": -0.001,

"pz": 0.0033,

"data\_date": "2014-06-22 14:00:00",

"ua": 231.2,

"ub": 232.1,

"uc": 232.3,

"qa": -0.0006,

"pa": 0.0006,

"qb": -0.0004,

"pb": 0.0018,

"qc": 0,

"pc": 0.0007,

"field03": "中央空调",

"ia": 0,

"ib": 0.01,

"ic": 0

},

{

"field03": "室内空调",

"data\_date": "2014-06-22 14:00:00"

},

{

"field03": "电磁炉",

"data\_date": "2014-06-22 14:00:00"

},

{

"field03": "微波炉",

"data\_date": "2014-06-22 14:00:00"

},

{

"field03": "洗衣机",

"data\_date": "2014-06-22 14:00:00"

},

{

"qz": 0,

"pz": 0.0064,

"data\_date": "2014-06-22 15:00:00",

"ua": 232.4,

"ub": 233.3,

"uc": 233.5,

"qa": -0.0006,

"pa": 0.0006,

"qb": 0,

"pb": 0.0049,

"qc": 0,

"pc": 0.0007,

"field03": "中央空调",

"ia": 0,

"ib": 0.03,

"ic": 0

},

{

"field03": "室内空调",

"data\_date": "2014-06-22 15:00:00"

},

{

"field03": "电磁炉",

"data\_date": "2014-06-22 15:00:00"

},

{

"field03": "微波炉",

"data\_date": "2014-06-22 15:00:00"

},

{

"field03": "洗衣机",

"data\_date": "2014-06-22 15:00:00"

},

{

"qz": 0,

"pz": 0.0063,

"data\_date": "2014-06-22 16:00:00",

"ua": 233.3,

"ub": 234.1,

"uc": 234.1,

"qa": -0.0006,

"pa": 0.0006,

"qb": 0,

"pb": 0.0048,

"qc": 0,

"pc": 0.0007,

"field03": "中央空调",

"ia": 0,

"ib": 0.02,

"ic": 0

},

{

"field03": "室内空调",

"data\_date": "2014-06-22 16:00:00"

},

{

"field03": "电磁炉",

"data\_date": "2014-06-22 16:00:00"

},

{

"field03": "微波炉",

"data\_date": "2014-06-22 16:00:00"

},

{

"field03": "洗衣机",

"data\_date": "2014-06-22 16:00:00"

},

{

"qz": 0,

"pz": 0.0063,

"data\_date": "2014-06-22 17:00:00",

"ua": 233.1,

"ub": 233.8,

"uc": 234,

"qa": -0.0005,

"pa": 0.0006,

"qb": 0,

"pb": 0.0048,

"qc": 0,

"pc": 0.0007,

"field03": "中央空调",

"ia": 0,

"ib": 0.03,

"ic": 0

},

{

"field03": "室内空调",

"data\_date": "2014-06-22 17:00:00"

},

{

"field03": "电磁炉",

"data\_date": "2014-06-22 17:00:00"

},

{

"field03": "微波炉",

"data\_date": "2014-06-22 17:00:00"

},

{

"field03": "洗衣机",

"data\_date": "2014-06-22 17:00:00"

},

{

"qz": 0,

"pz": 0.0074,

"data\_date": "2014-06-22 18:00:00",

"ua": 235.3,

"ub": 236,

"uc": 236.2,

"qa": -0.0006,

"pa": 0.0006,

"qb": 0,

"pb": 0.0059,

"qc": 0,

"pc": 0.0008,

"field03": "中央空调",

"ia": 0,

"ib": 0.03,

"ic": 0

},

{

"field03": "室内空调",

"data\_date": "2014-06-22 18:00:00"

},

{

"field03": "电磁炉",

"data\_date": "2014-06-22 18:00:00"

},

{

"field03": "微波炉",

"data\_date": "2014-06-22 18:00:00"

},

{

"field03": "洗衣机",

"data\_date": "2014-06-22 18:00:00"

},

{

"qz": 0.001,

"pz": 0.0224,

"data\_date": "2014-06-22 19:00:00",

"ua": 235.8,

"ub": 236.5,

"uc": 236.7,

"qa": -0.0006,

"pa": 0.0006,

"qb": -0.0004,

"pb": 0.0209,

"qc": 0,

"pc": 0.0008,

"field03": "中央空调",

"ia": 0,

"ib": 0.09,

"ic": 0

},

{

"field03": "室内空调",

"data\_date": "2014-06-22 19:00:00"

},

{

"field03": "电磁炉",

"data\_date": "2014-06-22 19:00:00"

},

{

"field03": "微波炉",

"data\_date": "2014-06-22 19:00:00"

},

{

"field03": "洗衣机",

"data\_date": "2014-06-22 19:00:00"

},

{

"qz": -0.001,

"pz": 0.0058,

"data\_date": "2014-06-22 20:00:00",

"ua": 233.4,

"ub": 234,

"uc": 234.1,

"qa": -0.0006,

"pa": 0.0006,

"qb": -0.0004,

"pb": 0.0043,

"qc": 0,

"pc": 0.0007,

"field03": "中央空调",

"ia": 0,

"ib": 0.03,

"ic": 0

},

{

"field03": "室内空调",

"data\_date": "2014-06-22 20:00:00"

},

{

"field03": "电磁炉",

"data\_date": "2014-06-22 20:00:00"

},

{

"field03": "微波炉",

"data\_date": "2014-06-22 20:00:00"

},

{

"field03": "洗衣机",

"data\_date": "2014-06-22 20:00:00"

},

{

"qz": -0.0022,

"pz": 0.0137,

"data\_date": "2014-06-22 21:00:00",

"ua": 232.6,

"ub": 233.3,

"uc": 233.4,

"qa": -0.0005,

"pa": 0.0006,

"qb": -0.0017,

"pb": 0.0122,

"qc": 0,

"pc": 0.0007,

"field03": "中央空调",

"ia": 0,

"ib": 0.06,

"ic": 0

},

{

"field03": "室内空调",

"data\_date": "2014-06-22 21:00:00"

},

{

"field03": "电磁炉",

"data\_date": "2014-06-22 21:00:00"

},

{

"field03": "微波炉",

"data\_date": "2014-06-22 21:00:00"

},

{

"field03": "洗衣机",

"data\_date": "2014-06-22 21:00:00"

},

{

"qz": -0.002,

"pz": 0.0069,

"data\_date": "2014-06-22 22:00:00",

"ua": 234,

"ub": 234.8,

"uc": 235.1,

"qa": -0.0006,

"pa": 0.0006,

"qb": -0.0014,

"pb": 0.0054,

"qc": 0,

"pc": 0.0008,

"field03": "中央空调",

"ia": 0,

"ib": 0.03,

"ic": 0

},

{

"field03": "室内空调",

"data\_date": "2014-06-22 22:00:00"

},

{

"field03": "电磁炉",

"data\_date": "2014-06-22 22:00:00"

},

{

"field03": "微波炉",

"data\_date": "2014-06-22 22:00:00"

},

{

"field03": "洗衣机",

"data\_date": "2014-06-22 22:00:00"

},

{

"qz": -0.002,

"pz": 0.0066,

"data\_date": "2014-06-22 23:00:00",

"ua": 233,

"ub": 233.8,

"uc": 233.9,

"qa": -0.0006,

"pa": 0.0006,

"qb": -0.0014,

"pb": 0.0051,

"qc": 0,

"pc": 0.0008,

"field03": "中央空调",

"ia": 0,

"ib": 0.02,

"ic": 0

},

{

"field03": "室内空调",

"data\_date": "2014-06-22 23:00:00"

},

{

"field03": "电磁炉",

"data\_date": "2014-06-22 23:00:00"

},

{

"field03": "微波炉",

"data\_date": "2014-06-22 23:00:00"

},

{

"field03": "洗衣机",

"data\_date": "2014-06-22 23:00:00"

}

]

}

# 家用负荷昨日电量统计

GET

http://ip:port/api/bigScreen/ getYesyterdayJyfhTj

{

"msg": "操作成功",

"code": 0,

"data": {

"allpz": "3854.55", 总功率

"daydl": "6.54", 日电量

"monthdl": "100.15" 总电量

}

}